Carp Shop procedures and policies

All construction shops and construction sites will comply with the OHS Act and the appropriate regulations. This includes but is not limited to:

all Location sites and sound stages.

Heads of departments and all supervisors will establish and enforce housekeeping policies and procedures in compliance

with the OHS Act with respect to:

-Electrical equipment (lock out procedures)

-Power tool lock out procedures

-MSDS updating policies

-Noise policy

-IAQ (indoor air quality) and dust control

-General Housekeeping

Electrical

All electrical equipment will be inspected daily to ensure condition meets operational standards. Deficient machinery

will be removed (locked out as required) from service until replaced or repaired.

Power Tool lock out procedure

Malfunctioning tools will be removed from service upon recognition of fault. Tool should be marked with green tape. A

brief description of the fault and the name of the operator is very helpful. The tool is to be placed in the “broken tool”

bin for repair.

MSDS/SDS

Safety Data Sheets are available at the main first aid station and JHSC office. SDS information will updated and filed

accordingly as new products are introduced to job site.  Digital SDS information is available at MySDS.com

Noise Policy

Excessive noise can produce hearing loss over time. It is recommended to use proper PPE when exposed to noise and

efforts should be made during break periods and lunch periods to silence operating machines that are not required

during these periods. Personal ear buds used to listen to music/phone calls while working is not recommended, but if

deemed necessary, volume levels must be monitored to ensure situational awareness is maintained.

IAQ (Indoor Air Quality)

Machines and devices used to shape, sand, cut, and mill material must be connected to adequate dust extraction

systems to mitigate airborne particle migration. Proper ventilation and downdraft tables to extract contaminated air to

atmosphere is recommended when using solvents etc. Proper PPE must always be used when exposure to dust or

airborne contaminates is likely. Dust collectors and equipment must be checked frequently during the day to maintain

maximum efficiency and emptied as required. It is recommended dust collectors also be emptied/inspected at the end

of each work day to ensure no fire hazard exists. All saw dust should be collected in garbage bags and disposed of

properly to preserve IAQ.

General Housekeeping

Labourers will maintain clear pathways to and from equipment and clean areas as required. All material will be safely

stacked and secured. Garbage cans will be strategically located within the shop and emptied regularly. Sweeping

compounds (Dust Bane or similar products) will be used when sweeping floors to help reduce dust exposure